General ideas for next version(s)

- White and gray ferrules don’t fit on wire; they are for a thinner wire insulation thickness. Maybe get thinner wire, I think multi-color wire and having one color ferrule we use with all the wire colors is the way to go.

- Get resistors on the PCB and a rotary switch.

- Make the box a bit shorter,

- Put the power plug on the side up against the edge of the box.

- Put a status LED on the front that is maybe tied to one of the square waves.

- Add a rotary dial for the bi-phasic speed.

- Remove the version number from the 3D printed boxes.

- Add a 2-probe/4-probe switch to the PCB.