Table of Contents

Test Procedure	2

Assisi V0.2.1	3

07152026	3

Test 1 Run 1	3

07212026	3

Test 1 Run 1	3

07272026	4

Constants	4

2Hz-9201-CMF-0.01	4

5Hz-9201-CMF-0.01	4

10Hz-9201-CMF-0.01	4

5Hz-9201-CMF-1	5

10Hz-9201-CMF-1	5

07292026	5

20Hz-9201-CMF-1	5

20Hz-9201-CMF-0.01	6

20Hz-9201-CMF-0.1	8

20Hz-9201-CMF-0.5	9

10Hz-9201-CMF-0.01	10

10Hz-9201-CMF-1	11

10Hz-9201-CMF-0.1	11

10Hz-9201-CMF-0.5	12

5Hz-9201-CMF-0.1	13

5Hz-9201-CMF-0.5	14

5Hz-9201-CMF-0.01	15

5Hz-9201-CMF-1	16

07302026	17

20Hz-9201-CMF-1	17

20Hz-9201-CMF-0	17

20Hz-9201-CMF-0.1	17

10Hz-9201-CMF-0.1	17

10Hz-9201-CMF-0	17

10Hz-9201-CMF-1	17

5Hz-9201-CMF-0.1	18

5Hz-9201-CMF-0	18

5Hz-9201-CMF-1	18

# Test Procedure

# Assisi V0.2.1

## 07152026

### Test 1 Run 1

Specimen Type: CMF 0.01% 06/06/2025 Campione 2

Discharge time: ~31 s

Settle time: ~2 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry

NI card: NI 9221

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.6 Mohm

Post resistance: 3 Mohm

Loaded?: No

## 07212026

### Test 1 Run 1

Specimen Type: CMF 0.01% 06/06/2025 Campione 2

Discharge time: ~31 s

Settle time: ~2 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry

NI card: NI 9221

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.6 Mohm

Post resistance: 3 Mohm

Loaded?: No

## 07272026

### Constants

### 2Hz-9201-CMF-0.01

### 5Hz-9201-CMF-0.01

### 10Hz-9201-CMF-0.01

### 5Hz-9201-CMF-1

### 10Hz-9201-CMF-1

## 07292026

### 20Hz-9201-CMF-1

Specimen Type: CMF 1% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry. This was its first test of the day.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.3 Mohm

Post resistance: 11 Mohm

Loaded?: No

#### Pre

#### Instron

constant

triangular

#### Post

### 20Hz-9201-CMF-0.01

Specimen Type: CMF 0.01% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry. This was its first test of the day.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.4 Mohm

Post resistance: 7 Mohm

Loaded?: No

#### Pre

Lowpass:

Unfiltered:

#### Instron

constant

constant unfiltered

triangular

Tri unfiltered

#### Post

unfiltered

### 20Hz-9201-CMF-0.1

Specimen Type: CMF 0.1% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry. This was the first test of the day.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 160 ohm

Post resistance: 160 ohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 20Hz-9201-CMF-0.5

Specimen Type: CMF 0.5% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry. This was the first test of the day.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.1 kohm

Post resistance: 0.8 kohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 10Hz-9201-CMF-0.01

#### Instron

#### Post

### 10Hz-9201-CMF-1

#### Instron

#### Post

### 10Hz-9201-CMF-0.1

Specimen Type: CMF 0.1% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 125 ohm

Post resistance: 126 ohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 10Hz-9201-CMF-0.5

Specimen Type: CMF 0.5% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1 kohm

Post resistance: 1.1 kohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 5Hz-9201-CMF-0.1

Specimen Type: CMF 0.1% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 130 ohm

Post resistance: 136 ohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 5Hz-9201-CMF-0.5

Specimen Type: CMF 0.5% 12/06/2025 Campione 2

Discharge time: ~1 min

Settle time: ~4 min

Dimensions: 5.2 cm cube

Space between meshes: 1.5 cm

Physical notes: eroded edges and faces. Dusty, dry.

NI card: NI 9201

PSU: 9V 6A max

Shunt resistor: 1 Mohm

Baseline material resistance: 1.2 kohm

Post resistance: 0.9 kohm

Loaded?: No

#### Pre

#### Instron

#### Post

### 5Hz-9201-CMF-0.01

#### Instron

0.4kN

0.8kN

#### Post

### 5Hz-9201-CMF-1

#### Instron

0.4kN

0.8kN

#### Post

## 07302026

### 20Hz-9201-CMF-1

#### Pre

lowpass 330 ohms

unfiltered 330

lowpass 550 ohms

Unfiltered 550

#### Instron

lowpass constant

Unfiltered constant

lowpass Tri

Unfiltered tri

#### Post

lowpass post

Unfiltered post

### 20Hz-9201-CMF-0

#### Pre

#### Instron

constant

tri

#### Post

### 20Hz-9201-CMF-0.1

#### Pre

#### Instron

constant

tri

### 10Hz-9201-CMF-0.1

#### Instron

### 10Hz-9201-CMF-0

#### Instron

### 10Hz-9201-CMF-1

#### Instron

### 5Hz-9201-CMF-0.1

#### Instron

### 5Hz-9201-CMF-0

#### Instron

### 5Hz-9201-CMF-1

#### Instron

## 10282026

### 33k

#### 5Hz

unfiltered

lowpass filtered

#### 5Hz-retest

#### 10Hz

#### 20Hz

### 82k

#### 5Hz

#### 10Hz

#### 20Hz

### 150k

#### 5Hz

#### 10Hz

#### 20Hz